## EC I
TITE DIPLOMA,TARABOI,KHURDA
DEPARTMENT OF ELECTRICAL ENGINEERING
LESSON PLAN
DISCIPLINE:-Electrical
SEMESTER:-4th |  | FROM DATE :-14.02.2023 |  | TO DATE 23.5.2023
NAME OF THE TEACHING FACULTY:-SOUMYA RANJAN SETHI
SUBJCT-EC-I
NO.OF PERIOD/PER WEEK CLASS ALLOTTED:-4
TOTAL NO. OF CLASS AVAILABLE IN SEM:-53
SL NO. | WEEK | CLASS DATE | NO. OF CLASS/DAY | TOPICS
1 | Week-01 | 2023-02-15 | 1 | Operating principle of generator
|  | 2023-02-16 | 1 | Constructional features of DC machine:Yoke, Pole & field winding, Armature, Commutator
|  | 2023-02-17 | 1 | Armature winding, back pitch, Front pitch, Resultant pitch and commutator- pitch
|  |  | 1 | Simple Lap and wave winding, Dummy coils.
2 | Week-02 | 2023-02-20 | 1 | Different types of D.C. machines (Shunt, Series and Compound)
|  | 2023-02-22 | 1 | Derivation of EMF equation of DC generators. (Solve problems)
|  | 2023-02-23 | 1 | Losses and efficiency of DC generator. Condition for maximum efficiency and numerical problems.
|  | 2023-02-24 | 1 | Armature reaction in D.C. machine
3 |  | 2023-02-27 | 1 | Commutation and methods of improving commutation
|  | 2023-03-01 | 1 | Characteristics of D.C. Generators
|  | 2023-03-02 | 1 | Application of different types of D.C. Generators.
|  | 2023-03-03 | 1 | Concept of critical resistance and critical speed of DC shunt generator
4 | Week-04 | 2023-03-06 | 1 | Conditions of Build-up of emf of DC generator.
|  | 2023-03-08 | 1
|  | 2023-03-09 | 1 | Parallel operation of D.C. Generators.
|  | 2023-03-10 | 1 | Uses of D.C generators.
5 | Week-05 | 2023-03-13 | 1 | Basic working principle of DC motor
|  | 2023-03-15 | 1 | 2.2. Significance of back emf in D.C. Motor.
|  | 2023-03-16 | 1 | Voltage equation of D.C. Motor and condition for maximum power output(simple problems)
|  | 2023-03-17 | 1 | 2.4. Derive torque equation (solve problems)
6 | Week-06 | 2023-03-20 | 1 | 2.5. Characteristics of shunt, series and compound motors and their application.
|  | 2023-03-22 | 1 | 2.6. Starting method of shunt, series and compound motors.
|  | 2023-03-23 | 1 | 2.7. Speed control of D.C shunt motors by Flux control method. Armature voltage Control method. Solve problems
|  | 2023-03-24 | 1 | 2.8. Speed control of D.C. series motors by Field Flux control method, Tapped field method and series-parallel method
7 | Week-07 | 2023-03-27 | 1 | 2.9. Determination of efficiency of D.C. Machine by Brake test method(solve numerical problems)
|  | 2023-03-29 | 1 | 2.10. Determination of efficiency of D.C. Machine by Swinburne’s Test method(solve numerical problems)
|  | 2023-03-30 | 1
|  | 2023-03-31 | 1 | Losses, efficiency and power stages of D.C. motor(solve numerical problems)
8 | Week-08 | 2023-04-03 | 1 | 2.12. Uses of D.C. motors
|  | 2023-04-05 | 1 | Working principle of transformer.
|  | 2023-04-06 | 1 | 3.2 Constructional feature of Transformer. 3.2.1 Arrangement of core & winding in different types of transformer.
|  | 2023-04-07 | 1 | 3.2.2 Brief ideas about transformer accessories such as conservator, tank, breather, and explosion vent etc.
9 | Week-09 | 2023-04-10 | 1 | 3.2.3 Explain types of cooling methods
|  | 2023-04-12 | 1 | 3.3 State the procedures for Care and maintenance.
|  | 2023-04-13 | 1 | 3.4 EMF equation of transformer.
|  | 2023-04-14 | 1
10 | Week-10 | 2023-04-17 | 1 | 3.5 Ideal transformer voltage transformation ratio
|  | 2023-04-19 | 1 | 3.6 Operation of Transformer at no load, on load with phasor diagrams.
|  | 2023-04-20 | 1 | Equivalent Resistance, Leakage Reactance and Impedance of transformer.
|  | 2023-04-21 | 1 | 3.8 To draw phasor diagram of transformer on load, with winding Resistance and Magnetic leakage with using upf, leading pf and lagging pf load.
11 | Week-11 | 2023-04-24 | 1 | 3.9 To explain Equivalent circuit and solve numerical problems.
|  | 2023-04-26 | 1 | 3.10 Approximate & exact voltage drop calculation of a Transformer.
|  | 2023-04-27 | 1 | 3.11 Regulation of transformer.
|  | 2023-04-28 | 1 | 3.12 Different types of losses in a Transformer. Explain Open circuit and Short Circuit test.(Solve numerical problems)
12 | Week-12 | 2023-05-01 | 1 | 3.13 Explain Efficiency, efficiency at different loads and power factors, condition for maximum efficiency (solve problems)
|  | 2023-05-03 | 1 | 3.14 Explain All Day Efficiency (solve problems)
|  | 2023-05-04 | 1 | 3.15 Determination of load corresponding to Maximum efficiency.
|  | 2023-05-05 | 1
13 | Week-13 | 2023-05-08 | 1 | 3.16 Parallel operation of single phase transformer.
|  | 2023-05-10 | 1 | AUTO TRANSFORMER 4.1. Constructional features of Auto transformer.
|  | 2023-05-11 | 1 | 4.2. Working principle of single phase Auto Transformer.
|  | 2023-05-12 | 1 | 4.3. Comparison of Auto transformer with an two winding transformer (saving of Copper).
14 | Week14 | 2023-05-15 | 1 | 4.4. Uses of Auto transformer.
|  | 2023-05-17 | 1 | 4.5. Explain Tap changer with transformer (on load and off load condition)
|  | 2023-05-18 | 1 | 5. INSTRUMENT TRANSFORMERS
|  | 2023-05-19 | 1 | 1.1 Explain Current Transformer and Potential Transformer
15 | Week 15 | 2023-05-22 | 1 | 1.2 Define Ratio error, Phase angle error, Burden.
|  | 2023-05-24 | 1 | 1.3 Uses of C.T. and P.T.
|  | 2023-05-25 | 1 | Revision
|  | 2023-05-26 | 1 | Numerical solving
16 | Week 16 | 2023-05-29 | 1 | class test 1
|  | 2023-05-31 | 1 | Questions discussion