## 2022-23(4TH sem)
TITE DIPLOMA,TARABOI,KHURDA
DEPARTMENT OF ELECTRICAL ENGINEERING
LESSON PLAN
DISCIPLINE:-ELECTRICAL ENGINEERING
SEMESTER:-4TH |  | FROM DATE :-14.02.2023 |  | TO DATE 23.05.2023
NAME OF THE TEACHING FACULTY:-DEBADATTA PRADHAN
SUBJCT-EMI
NO.OF PERIOD/PER WEEK CLASS ALLOTTED:- 4
TOTAL NO. OF CLASS AVAILABLE IN SEM:- 51
SL NO. | WEEK | CLASS DATE | NO. OF CLASS/DAY | TOPICS
1 | Week-01 | 14.02.2023 | 1 | MEASURING INSTRUMENTS
|  | 15.02.2023 | 1 | Define Accuracy, precision, Errors, Resolutions Sensitivity and tolerance.
|  | 17.02.2023 | 1 | Classification of measuring instruments.
|  | 20.02.2023 | 1 | Explain Deflecting, controlling
2 | Week-02 | 21.02.2023 | 1 | damping arrangements in indicating type of Instruments
|  | 22.02.2023 | 1 | Calibration of instruments.
|  | 24.02.2023 | 1 | ANALOG AMMETERS AND VOLTMETERS
|  | 27.02.2023 | 1 | Describe Construction, principle of operation, errors, ranges merits and demerits ofMoving iron type instruments.
3 | Week-03 | 28.02.2023 | 1 | Permanent Magnet Moving coil type instruments.
|  | 01.03.2023 | 1 | Dynamometer type instruments
|  | 03.03.2023 | 1 | Rectifier type instruments
4 | Week-04 | 06.03.2023 | 1 | Induction type instruments
|  | 10.03.2023 | 1 | Extend the range of instruments by use of shunts and Multipliers.
|  | 13.03.2023 | 1 | Solve Numerical
5 | Week-05 | 14.03.2023 | 1 | WATTMETERS AND MEASUREMENT OF POWER
|  | 15.03.2023 | 1 | Describe Construction, principle of working of Dynamometer type wattmeter.
|  | 17.03.2023 | 1 | (LPFand UPF type)
|  | 20.03.2023. | 1 | The Errors in Dynamometer type wattmeter and methods of their correction.
6 | Week-06 | 21.03.2023 | 1 | Discuss Induction type watt meters.
|  | 22.03.2023 | 1 | ENERGYMETERS AND MEASUREMENT OF ENERGY
|  | 24.03.2023 | 1 | Introduction Single Phase Induction type Energy meters
|  | 27.03.2023 | 1 | construction, working principle andtheir compensation & adjustments.
7 | Week-07 | 28.03.2023 | 1 | Testing of Energy Meters.
|  | 29.03.2023 | 1 | MEASUREMENT OF SPEED, FREQUENCY AND POWER FACTOR
|  | 31.03.2023 | 1 | Tachometers, types and working principles
8 | Week-08 | 03.04.2023 | 1 | Principle of operation and construction of Mechanical and Electrical resonance type frequency meters
|  | 04.04.2023 | 1 | Principle of operation and working of Dynamometer type single phase and three phase power factor meters
|  | 05.04.2023 | 1 | MEASUREMENT OF RESISTANCE, INDUCTANCE& CAPACITANCE
9 | Week-09 | 10.04.2023 | 1 | Classification of resistance
|  | 11.04.2023 | 1 | Measurement of low resistance by potentiometer method.
|  | 12.04.2023 | 1 | IMeasurement of medium resistance by wheat Stone bridge method.
|  | 17.04.2023 | 1 | Measurement of high resistance by loss of charge method.
10 | Week-10 | 18.04.2023 | 1 | Construction, principle of operations of Megger
|  | 19.04.2023 | 1 | Earth tester for insulationresistance and earth resistance measurement respectively.
|  | 21.04.2023 | 1 | Construction and principles of Multimeter. (Analog and Digital)
|  | 24.04.2023 | 1 | Measurement of inductance by Maxewell’s Bridge method.
11 | Week-11 | 25.04.2023 | 1 | Measurement of capacitance by Schering Bridge method
|  | 26.04.2023 | 1 | SENSORS AND TRANSDUCER
|  | 28.04.2023 | 1 | Define Transducer, sensing element or detector elementand transduction elementsand transduction elements
12 | Week-12 | 01.05.2023 | 1 | Classify transducer. Give examples of various class of transducer.
|  | 02.05.2023 | 1 | Resistive transducer Linear and angular motion potentiometer.
|  | 03.05.2023 | 1 | Thermistor and Resistance thermometers.
|  | 08.05.2023 | 1 | Wire Resistance Strain Gauges
13 | Week-13 | 09.05.2023 | 1 | Inductive Transducer Principle of linear variable differential Transformer (LVDT)
|  | 10.05.2023 | 1 | Uses of LVDT.capacitive transducer
|  | 12.05.2023 | 1 | General principle of capacitive transducer. Variable area capacitive transducer.
14 | Week14 | 15.05.2023 | 1 | Change in distance between plate capacitive transducer.
|  | 16.05.2023 | 1 | Piezo electric Transducer and Hall Effect Transducer with their applications.
|  | 17.05.2023 | 1 | OSCILLOSCOPE Principle of operation of Cathode Ray Tube.
15 | Week-15 | 22.05.2023 | 1 | Principle of operation of Oscilloscope (with help of block diagram).
|  | 23.05.2023 | 1 | Measurement of DC Voltage & current .Measurement of AC Voltage, current, phase & frequency.