## 2021(W)
TITE DIPLOMA,TARABOI,KHURDA
DEPARTMENT OF ELECTRICAL ENGINEERING
LESSON PLAN
DISCIPLINE:- ELECTRICAL ENGINEERING
SEMESTER:- 6TH |  | FROM DATE :- 14-02-2023 |  | TO DATE: 23-05-2023
NAME OF THE TEACHING FACULTY:- KANAN KUMAR DAS
SUBJCT- Renewable Energy
NO.OF PERIOD/PER WEEK CLASS ALLOTTED:- 4
TOTAL NO. OF CLASS AVAILABLE IN SEM:- 55
SL NO. | WEEK | CLASS DATE | NO. OF CLASS/DAY | TOPICS
1 | Week-01 | 2023-02-14 | 1 | Introduction to Renewable energy, Environmental consequences of fossil fuel use
|  | 2023-02-16 | 1 | Importance of renewable sources of energy, Sustainable Design and development
2 | Week-02 | 2023-02-20 | 1 | Types of RE sources, Limitations of RE sources
|  | 2023-02-20 | 1 | Types of RE sources, Limitations of RE sources
|  | 2023-02-21 | 1 | Present Indian and international energy scenario of conventional and RE sources
|  | 2023-02-23 | 1 | Doubt Clearing
3 | Week-03 | 2023-02-27 | 1 | Solar Energy, Solar photovoltaic system-Operating principle
|  | 2023-02-27 | 1 | Photovoltaic cell concepts, Cell, module, array
|  | 2023-02-28 | 1 | Series and parallel connections. Maximum power point tracking (MPPT)
|  | 2023-03-02 | 1 | Series and parallel connections. Maximum power point tracking (MPPT)
4 | Week-04 | 2023-03-06 | 1 | Classification of energy Sources
|  | 2023-03-06 | 1 | Classification of energy Sources
|  | 2023-03-09 | 1 | Extra-terrestrial and terrestrial Radiation
5 | Week-05 | 2023-03-13 | 1 | Azimuth angle
|  | 2023-03-13 | 1 | Zenith angle, Hour angle
|  | 2023-03-14 | 1 | Irradiance, Solar constant
|  | 2023-03-16 | 1 | Solar collectors, Types and performance characteristics
6 | Week-06 | 2023-03-20 | 1 | Types and performance characteristics
|  | 2023-03-20 | 1 | Applications: Photovoltaic - battery charger
|  | 2023-03-21 | 1 | Applications: Photovoltaic -domestic lighting, street lighting
|  | 2023-03-23 | 1 | Applications: Photovoltaic - water pumping, solar cooker, Solar Pond
7 | Week-07 | 2023-03-27 | 1 | Doubt Clearing
|  | 2023-03-27 | 1 | Class Test 1
|  | 2023-03-28 | 1 | Wind Energy, Introduction to Wind energy
8 | Week-08 | 2023-04-03 | 1 | Wind energy conversion
|  | 2023-04-03 | 1 | Types of wind turbines
|  | 2023-04-04 | 1 | Aerodynamics of wind rotors
|  | 2023-04-06 | 1 | Wind turbine control systems; conversion to electrical power
9 | Week-09 | 2023-04-10 | 1 | Induction and synchronous generators
|  | 2023-04-10 | 1 | Grid connected and self excited induction generator operation
|  | 2023-04-11 | 1 | Constant voltage and constant frequency generation with power electronic control
|  | 2023-04-13 | 1 | Single and double output systems
10 | Week-10 | 2023-04-17 | 1 | Characteristics of wind power plant
|  | 2023-04-17 | 1 | Doubt Clearing
|  | 2023-04-18 | 1 | Biomass Power, Energy from Biomass
|  | 2023-04-20 | 1 | Biomass as Renewable Energy Source
11 | Week-11 | 2023-04-24 | 1 | Types of Biomass Fuels - Solid, Liquid and Gas
|  | 2023-04-24 | 1 | Types of Biomass Fuels - Liquid and Gas
|  | 2023-04-25 | 1 | Combustion and fermentation
|  | 2023-04-27 | 1 | Anaerobic digestion
12 | Week-12 | 2023-05-01 | 1 | Types of biogas digester
|  | 2023-05-01 | 1 | Types of biogas digester
|  | 2023-05-02 | 1 | Wood gassifier
|  | 2023-05-04 | 1 | Pyrolysis
13 | Week-13 | 2023-05-08 | 1 | Applications: Bio gas, Bio diesel
|  | 2023-05-08 | 1 | Doubt Clearing
|  | 2023-05-09 | 1 | Other Energy Sources
|  | 2023-05-11 | 1 | Tidal Energy: Energy from the tides
14 | Week14 | 2023-05-15 | 1 | Barrage and Non Barrage Tidal power systems
|  | 2023-05-15 | 1 | Ocean Thermal Energy Conversion (OTEC)
|  | 2023-05-16 | 1 | Geothermal Energy – Classification
|  | 2023-05-18 | 1 | Need for Hybrid Systems
15 | Week-15 | 2023-05-22 | 1 | Diesel-PV, Wind-PV, Microhydel-PV
|  | 2023-05-22 | 1 | Electric and hybrid electric vehicles
|  | 2023-05-23 | 1 | Class Test 2