## SGPD
TITE DIPLOMA,TARABOI,KHURDA
DEPARTMENT OF ELECTRICAL ENGINEERING
LESSON PLAN
DISCIPLINE:-EE
SEMESTER:-6TH |  | FROM DATE :-14-02-2023 |  | TO DATE 23-05-2023
NAME OF THE TEACHING FACULTY:-SAUBHAGYA LAXMI JENA
SUBJCT-SWITCHGEAR PROTECTION DEVICE
NO.OF PERIOD/PER WEEK CLASS ALLOTTED:-04
TOTAL NO. OF CLASS AVAILABLE IN SEM:-47
SL NO. | WEEK | CLASS DATE | NO. OF CLASS/DAY | TOPICS
1 | Week-01 | 15/2/2023 | 1 | Essential Features of switchgear
|  | 17/2/2023 | 2 | Switchgear Equipment,Bus-Bar Arrangement.
|  | 20/2/2023 | 1 | Switchgear Accommodation,Short Circuit
|  | 22/2/2023 | 1 | Faults in a power system,Symmetrical faults on 3-phase system.
2 | Week-02 | 24/2/2023 | 2 | Limitation of fault current,Percentage Reactance
|  | 27/2/2023 | 1 | Percentage Reactance and Base KVA,Short – circuit KVA.
|  | 2023-01-03 | 1 | Reactor control of short circuit currents,Location of reactors.
|  | 2023-03-03 | 2 | Steps for symmetrical Fault calculations.Solve numerical problems on symmetrical fault
3 | Week-03 | 2023-06-03 | 1 | Desirable characteristics of fuse element,Fuse Element materials
|  | 2023-08-03 | 1 | Types of Fuses and important terms used for fuses
|  | 2023-10-03 | 2 | Low and High voltage fuses,Current carrying capacity of fuse element
4 | Week-04 | 13/3/2023 | 1 | Difference Between a Fuse and Circuit Breaker.
|  | 15/3/2023 | 1 | Definition and principle of Circuit Breaker.Arc phenomenon and principle of Arc Extinction
|  | 17/3/2023 | 2 | Methods of Arc Extinction,Definitions of Arc voltage, Re-striking voltage and Recovery voltage
5 | Week-05 | 20/3/2023 | 1 | Classification of circuit Breakers,Oil circuit Breaker and its classification
|  | 22/3/2023 | 1 | Plain brake oil circuit breaker,Arc control oil circuit breaker
|  | 24/3/2023 | 2 | Low oil circuit breaker.Maintenance of oil circuit breaker.
|  | 27/3/2023 | 1 | Air-Blast circuit breaker and its classification
6 | Week-06 | 29/3/2023 | 1 | Sulphur Hexa-fluoride (SF6) circuit breaker.
|  | 31/3/2023 | 2 | Vacuum circuit breakers Switchgear component.Problems of circuit interruption. Resistance switching. Circuit Breaker Rating.
|  | 2023-03-04 | 1 | Definition of Protective Relay
|  | 2023-05-04 | 1 | Fundamental requirement of protective relay.Basic Relay operation
7 | Week-07 | 2023-10-04 | 1 | Definition of following important terms
|  | 2023-12-04 | 1 | Classification of functional relaysInduction type over current relay (Non-directional) Induction type directional power relay. Induction type directional over current relay.
|  | 17/4/2023 | 1 | Differential relay ,Types of protection
8 | Week-08 | 19/4/2023 | 1 | Protection of alternator. Differential protection of alternators. Balanced earth fault protection.
|  | 21/4/2023 | 2 | Protection systems for transformer. Buchholz relay. Protection of Bus bar. Protection of Transmission line.
|  | 24/4/2023 | 1 | Different pilot wire protection (Merz-price voltage Balance system) Explain protection of feeder by over current and earth fault relay
9 | Week-09 | 26/4/2023 | 1 | Voltage surge and causes of over voltage. Internal cause of over voltage. External cause of over voltage (lighting
|  | 28/4/2023 | 2 | Mechanism of lightning discharge. Types of lightning strokes.Harmful effect of lightning. Lightning arresters and Type of lightning Arresters.
|  | 2023-01-05 | 1 | Surge Absorber.Advantage of static relay. Instantaneous over current relay.
|  | 2023-03-05 | 1 | Principle of IDMT relay.Fault calculation.
10 | Week-10 | 2023-08-05 | 1 | Difference Between a Fuse and Circuit Breaker
|  | 2023-10-05 | 1 | PROTECTIVE RELAYS,PROTECTION OF ELECTRICAL POWER EQUIPMENT AND LINES
|  | 2023-12-05 | 2 | PROTECTION AGAINST OVER VOLTAGE AND LIGHTING
|  | 15/5/2023 | 1 | Problems of circuit interruption
11 | Week-11 | 17/5/20203 | 1 | Induction type directional power relay